[image: image1.png]AXION"
INTERNATI

*POWER™
ONAL INC.

PbC® Battery — Specifications

«  HighRate Charge and Discharge Capal
 100% Depth of Discharge Capability

o Excellent Cycle Life in Partial-State-Of Charge
Competitive Life Cycle Cost

Low Module Variati

o Fully Recyclable
+  Maintenance Free—Sealed AGM Construction
ULListed and Manufactured in the USA

Length —inches (mm) 13.50(343) 1350 (343) 13.86(352)
Width- inches (mm) 6.75 (171) 6.75 (171) 6.85 (174)
Height- inches (mm) 8.5(216) 1075 (273) 7.5(190)
Weight- Ibs.(kg) 56 (25) 73(33) 47 (21)
Terminals M6 or 3/8” M6 or 3/8” SAE Post
Nominal Voltage 120 120 160
Charge Voltage 135 135 180
Minimum Voltage 36 36 28
Round Trip Energy Efficiency %- Deep Cycle 6570 65-70 6570
Round Trip Energy Efficiency %- PSOC 85 85 85
Round Trip Charge Efficiency %- Deep Cycle 95-98 95-98 95-98
Round Trip Charge Efficiency %- PSOC 98-99 98-99 98-99
Operating Temperature Limits—'C 20050 2010 50 20050
Optimal Storage Tem perature Range- 201030 2010 30 201030

PbC® Battery Design Features:
~PBC" battery module PBC-30H-12V and PBC-30HT-12V

Roseaiabi Safey Vents
Wit Flame Arrstors

Tin Plated, Copper Threaded
Insared Termunse (WG o 3]

Reintorced Flame.

Retrdan Poypropyiens
s a0 Conere

‘Compiantwith ULTTTS

PC* battery module PBC-L5-16V.

Resesate Screwin
e Nrvesors

Flame Retardant

Casorand,
Compintwin
Lirme Conventonsi Pbo,

Through.the-Partion
Inercel Connecuons

Rogetve Fe




